6. Construction measurement principles

# Worksheet B: Additional calculations (tutor)

The drawing below shows the roof of a new bungalow, and the customer wishes to install solar panels.

4m

9m

The panels each measure 750mm x 1500mm

A clearance of 500mm must be left between the edges of the solar panels and the edge of the roof.

- Calculate how many panels could be fitted to the roof.

4m – 500mm clearance top and bottom = 3m

9m – 500mm clearance each side = 8m

3m / 750mm = 4 panels high

8m / 1500mm = 5.33 so 5 panels wide

4 x 5 = 20 panels total

- If each panel produces 150 watts (W) of electricity, what is the total output of the system in W or kilowatts (kW)?

20 panels x 150W = 3000W or 3kW