7. Building technology principles

# Worksheet 3: Offsite construction methods chart (tutor)

| Method | Construction context | Advantages | Disadvantages |
| --- | --- | --- | --- |
| Preassembled |  |  |  |
| Precast | Precast concrete structures are produced by casting concrete in moulds that are left to cure in a controlled environment, usually a factory setting. Precast concrete is typically used for structural elements such as walls, floors and stairs | Precasting can be very effective when repeated elements are required. Uniform, high quality finish, highly durable material, can enable rapid construction | Bulky and heavy to transport, may require ‘just-in-time’ processes (less flexible) |
| Modular |  |  |  |
| Panel systems |  |  |  |
| 3-D printing |  |  |  |

Learners should complete all columns and show an understanding of the construction contexts, advantages and disadvantages of the identified offsite construction methods.