7. Building technology principles

# Multiple choice questions (tutor)

- The development of a new office block would be classified as:

- Residential construction

- Infrastructure construction

- Industrial construction

- Commercial construction

- In what location would a DPM be installed in a building?

- Wall

- Floor

- Roof

- Window

- Which of the following is a potential disadvantage of using a steel frame system?

- Strength to weight ratio

- Installation time

- Fire protection

- Flexibility of design

- Which of the following is not an element of the substructure?

- Retaining walls

- Lintels

- Basements

- Foundations

- From the list below, which would not be a factor to be considered when selecting a foundation type?

- Soil type

- Ground conditions

- Local wildlife

- Location of drains and trees

- Which type of foundation is shown in the image below?

- Pad

- Stepped

- Raft

- Pile

- Which component of a cavity wall connects the inner and outer leaf?

- Wall toggle

- Wall tie

- Wall connector

- Mortar fixing

- Which type of internal wall is shown in the image below?

- Timber stud partition

- Block partition

- Metal stud partition

- Brick infill partition

- From the list below select two functions of a floor.

- Provides a level surface to support the contents of a building

- Provides protection from damp penetrating into a building

- Accommodates services including electrical and plumbing

- Provides protection from the elements

- Which of the following is not a form of external works?

- Dry lining

- Drainage

- Paving

- Footpaths

- Identify two types of external services.

- Water mains supply

- Wi-fi installation

- Gas mains supply

- Condensing boiler installations

- Which part of the building regulations covers electrical installations?

- Part L

- Part M

- Part P

- Part B

- Select two responsibilities of a building control officer.

- Issue prohibition notices

- Provide calculation for load bearing members

- Checking plans for approval

- Giving advice on construction

- What does the symbol below represent?

- European Committee for Standardisation

- British standard Kitemark

- International standards Kitemark

- Common Minimum Standards

- Select two forms of onsite construction method.

- Timber frame

- Structurally insulated panels

- Robotics

- Modular

- Portal frame systems are most commonly made from:

- Timber

- Masonry

- Concrete

- Steel