## Slide 1: PowerPoint 3: Ohm’s and Kirchhoff’s laws
PowerPoint presentation
8. Electrical and electronic principles
8.1 Principles of electrical and electronic systems

## Slide 2: Objectives
By the end of this session learners should be able to:
apply Ohm’s and Kirchhoff’s laws to their understanding of circuit theory.

## Slide 3
Ohm’s law: parallel, series and combination circuits
In direct current (DC) circuits only, resistance limits current and Ohm’s law is applied:
R
+
V
I

## Slide 4: Parallel connection
R1
R2
R3
V
+
I1
I2
I3
I

## Slide 5: Series connection
R1
R2
R3
V1
V2
V3
V
I
V

## Slide 6: Kirchhoff’s laws: current law
The sum of the currents entering a junction is equal to the sum of the currents leaving the junction
I1
I2
I3
I4
I5
I1 + I2 + I3 = I4 + I5
I1
I2
I3
I4
I5
I1 + I2 + I3 + I4 + I5 = 0

## Slide 7: Kirchhoff’s laws: voltage law
V1
V2
V3
V
V = V1 + V2 + V3
Around any closed loop the sum of emfs in that loop (V) is equal to the sum of the volt drops in that loop (V1, V2, V3)

## Slide 8: Kirchhoff’s laws for two-loop circuits
We now need to examine a different type of circuit problem that could involve two or more different emf sources and two or more unknown current values. These problems are solved using Kirchhoff’s voltage and current laws in a slightly different manner to previously. Consider the following two-loop circuit.
100V
80V
0.2Ω
4Ω LOAD
0.1Ω
2Ω
3Ω

## Slide 9: Two-loop circuit
Step 1: choose a direction of current in the circuit. This is a guess as we don’t know the direction until the values are calculated. Equate the currents to satisfy Kirchhoff’s laws.
Step 2: consider each loop and derive an equation which satisfies Kirchhoff’s laws.
Step 3: you now have a pair of simultaneous equations which can be solved.
This is best illustrated by considering the circuit on the previous slide and applying the above steps.

## Slide 10
Two-loop circuit
100V
80V
0.2Ω
4Ω LOAD
0.1Ω
3Ω
2Ω
The current passing through the load from Kirchhoff’s laws is I1 + I2.
I1
I2
I1 + I2
Loop 1
Loop 2

## Slide 11: Two-loop circuit example
Loop 1 gives:
Loop 2 gives:
80 = 4 I1 + 7.1 I2
Therefore we have two simultaneous equations:
100 = 6.2 I1 + 4 I2 (loop1)
80 = 4 I1 + 7.1 I2 (loop 2)
100 = 2 I1 + 4 ( I1 + I2 ) + 0.2 I1
100 = 6.2 I1 + 4 I2

## Slide 12
Note that the assumed clockwise direction of loop 1 is based on the loop emf polarity, ie loop direction is +ve to -ve. Similarly, the assumed anticlockwise direction of loop 2 is based on the loop emf polarity.
We multiply equation 1 by 4 and equation 2 by 6.2.
400 = 24.8 I1 + 16I2
4
496 = 24.8 I1 + 44 I2
Eq3
Eq4

## Slide 13
Equation 3 is then subtracted from equation 4: 96 = 28 I2, I2 = 3.43A
I2 in equation 1 is substituted:
100 = 6.2 I1 + (4 x 3.43)
I1= 13.92A
Current from 100V battery = 13.92A
Current from 80V battery = 3.43A
Load current = I1 + I2 = 17.35A
Note: All current answers are positive, which indicates our assumed directions are correct

## Slide 14
Any questions?
‘T-LEVELS’ is a registered trade mark of the Department for Education. ‘T Level’ is a registered trade mark of the Institute for Apprenticeships and Technical Education.