## Slide 1: PowerPoint 5: Programmable logic controllers (PLCs)
PowerPoint presentation
9. Mechatronics
9.2 The operation, function and applications of programmable logic controllers (PLCs) in mechatronic systems

## Slide 2: Objectives
By the end of this session, learners should be able to:
describe the types and functions of programmable logic controllers (PLCs).

## Slide 3: PLCs
Programmable logic controllers (PLCs) are programmable devices used in control systems. They are programmed to respond to inputs, and control different output devices.
PLCs are particularly suitable for use in engineering and manufacturing environments because they are:
  reliable
  rugged
  easy to program
  capable of working with a large number of input and output devices.
Notes: .

## Slide 4: Types of PLC
A unitary PLC has all the components contained within a single housing. Modular PLCs are made up of different modules that are connected together to form a customised device. This usually consists of a base module to which others can then be added or removed. Rack mounted PLCs have characteristics of both unitary and modular PLCs.
The main components of a PLC are:
  power supply
  central processing unit (CPU)
  programming device
  input and output (I/O) modules/devices.

## Slide 5: Diagram of a PLC
Notes: Image courtesy of Messung Industrial Automation and Controls (https://www.messungautomation.co.in/knowledge-bank/what-is-a-plc-understanding-programmable-logic-controllers-all-about-plc-systems/).

## Slide 6
Any questions?
‘T-LEVELS’ is a registered trade mark of the Department for Education. ‘T Level’ is a registered trade mark of the Institute for Apprenticeships and Technical Education.