## Slide 1: PowerPoint 8: Applications of PLCs
PowerPoint presentation
9. Mechatronics
9.2 The operation, function and applications of programmable logic controllers (PLCs) in mechatronic systems

## Slide 2: Objectives
By the end of this session, learners should be able to:
outline the applications and typical uses of programmable logic controllers (PLCs) in engineering and manufacturing.
Mechatronics in use on a conveyor belt in manufacturing.

## Slide 3: Applications of PLCs
Programmable logic controllers (PLCs) are widely used in a range of engineering and manufacturing applications. For example:
  controlling the movement of robotic arms
  sensing, measurement and sorting on conveyor belts
  automated packaging of products
  supervisory control and data acquisition (SCADA)
  remote technical units used to connect various hardware modules to distributed control systems
  controlling the movement of animatronic devices.

## Slide 4: SCADA
SCADA (supervisory control and data acquisition) is a category of software that is used to supervise, monitor and control industrial processes.
A SCADA system typically consists of the following elements:
  supervisory computers – the main core of the system
  remote terminal units
  PLCs connected to sensors and actuators
  communications devices and infrastructure
  a human-machine interface (HMI).
Notes: Discuss the main parts of a SCADA system, what they do and how they work.

## Slide 5: SCADA system
Notes: Image courtesy of allaboutcircuits.com (https://www.allaboutcircuits.com/technical-articles/an-introduction-to-scada-systems/).

## Slide 6
Any questions?
‘T-LEVELS’ is a registered trade mark of the Department for Education. ‘T Level’ is a registered trade mark of the Institute for Apprenticeships and Technical Education.