9. Mechatronics

# Worksheet 5: PLCs (tutor)

Give three reasons why PLCs are used in manufacturing control systems.

Rugged/reliable, easy to program, can work with a large number of input and output devices.

Explain the differences between unitary and modular PLCs.

Unitary PLCs have all the components contained within a single housing whereas modular PLCs are made up of different modules that are connected together to form a customised device.

Describe the components of a PLC.

Power supply, central processing unit (CPU), programming device and the input and output (I/O) modules/devices being controlled.